{"text_format":"3","workbook":"xls","n_sheets":10,"sheets":["一住手术室初中效过滤器","一住手术室高效过滤器","检验科PCR实验室过滤器","一住负压手术室","姚桥院区负压病房过滤器","第二住院大楼","医养中心","营养科配餐室","三期手术室","消毒供应中心"],"not_rendered":{"external_links":1,"defined_names":10},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"一住手术室初中效过滤器","index":0,"n_rows":25,"n_cols":6,"rows_kept":25,"merged":[[0,0,0,5],[1,0,1,5]],"flags":["formulas_cached_only"]}
["雅安市人民医院过滤器清单"]
["一住手术室初中效过滤器"]
["序号","产品名称","规格/型号","单位","数量","备注"]
[1,"回风","160*560","个",40,"G4棉"]
[2,"回风","160*560","个",12,"尼龙网"]
[3,"回风","200*350","个",28,"G4棉"]
[4,"回风","200*450","个",8]
[5,"顶回风","210*460","个",80]
[6,"回风","210*460*7.7","个",8,"尼龙网"]
[7,"回风","300*530","个",8]
[8,"回风","300*540","个",8]
[9,"回风","305*760","个",416]
[10,"回风","360*360","个",16,"G4棉"]
[11,"顶回风","360*360*7.7","个",12,"尼龙网"]
[12,"中效过滤器","287*592*534*8P","个",4,"F8"]
[13,"中效过滤器","490*592*534*8P","个",4,"F8"]
[14,"中效过滤器","592*592*534*8P","个",18,"F8"]
[15,"中效过滤器","592*592*534*8P","个",48,"F8"]
[16,"初效过滤器","592*592*95","个",96,"铝框，折叠式，G4"]
[17,"初效过滤器","287*592*95","个",8,"子母架，G4"]
[18,"初效过滤器","490*592*46","个",12,"子母架，G4"]
[19,"初效过滤器","592*490*95","个",8,"子母架，G4"]
[20,"初效过滤器","592*592*46","个",24,"子母架，G4"]
[21,"合计",null,null,858,"含税不含运费"]
["注：依据相关规范要求以及医院情况，建议：初效过滤器每年更换4次，中效过滤器每年更换2次，高效过滤器每年更换1次。"]

{"sheet":"一住手术室高效过滤器","index":1,"n_rows":15,"n_cols":6,"rows_kept":15,"merged":[[0,0,0,5],[1,0,2,5]],"flags":["formulas_cached_only"]}
["雅安市人民医院过滤器清单"]
["一住高效过滤器"]
[]
["序号","产品名称","规格/型号","单位","数量","备注"]
[1,"高效过滤器","1020*650*70","个",52,"H13"]
[2,"高效过滤器","1025*650*70","个",20,"H13"]
[3,"高效过滤器","320*320*220","个",35]
[4,"高效过滤器","380*430*70","个",26,"H13"]
[5,"高效过滤器","380*630*70","个",4]
[6,"高效过滤器","450*580*70","个",4]
[7,"高效过滤器","484*484*150","个",45]
[8,"高效过滤器","850*1020*70","个",8]
[9,"高效过滤器","920*700*70","个",20]
[null,"小计",null,null,214]
["注：依据相关规范要求以及医院情况，建议：初效过滤器每年更换4次，中效过滤器每年更换2次，高效过滤器每年更换1次。"]

{"sheet":"检验科PCR实验室过滤器","index":2,"n_rows":13,"n_cols":5,"rows_kept":13,"merged":[[0,0,0,4],[1,0,1,4]],"flags":["formulas_cached_only"]}
["雅安市人民医院过滤器清单"]
["检验科PCR实验室过滤器"]
["序号","名称","规格型号","数量（个）","备注"]
[1,"中效过滤器","287*592*381*4P*21",32,{"v":210,"d":"210.00"}]
[1,"中效过滤器","287*592*381*4P*21",32]
[2,"初效过滤器","287*592*46",64,"铝框，子母架 G4"]
[3,"高效过滤器","370*370*220",16,{"v":818,"d":"818.00"}]
[4,"高效过滤器","484*484*220",20,{"v":1248,"d":"1248.00"}]
[null,"合计",null,164]
["注：依据相关规范要求以及医院情况，建议：初效过滤器每年更换4次，中效过滤器每年更换2次，高效过滤器每年更换1次。"]
[null,"高效过滤器","370*370*320",16]
[null,"高效过滤器","484*484*220",20]
[{"$nulls":3},132]

{"sheet":"一住负压手术室","index":3,"n_rows":10,"n_cols":6,"rows_kept":10,"merged":[[0,0,0,7],[1,0,1,7]],"flags":["formulas_cached_only"]}
["雅安市人民医院过滤器清单"]
["一住负压手术室"]
["序号","产品名称","规格/型号","单位","数量","备注"]
[1,"初效过滤器","592*490*20","个",36,"铝框，夹棉，双面护网"]
[2,"中效过滤器","592*490*381*6P*21","个",18,"铝框，F8无纺布"]
[3,"高效过滤器","592*490*292*5V","个",12,"塑框，H13玻纤"]
[4,"高效过滤器","785*335*90","个",16,"铝框,H13玻纤，双面护网，单面密封条"]
[5,"高效过滤器","235*395*90","个",12,"铝框,H13玻纤，双面护网，单面密封条"]
[null,"小计",null,null,94]
["注：依据相关规范要求以及医院情况，建议：初效过滤器每年更换4次，中效过滤器每年更换2次，高效过滤器每年更换1次。"]

{"sheet":"姚桥院区负压病房过滤器","index":4,"n_rows":16,"n_cols":6,"rows_kept":16,"merged":[[0,0,0,6],[1,0,1,6]],"flags":["formulas_cached_only"]}
["雅安市人民医院过滤器清单"]
["三院区负压病房过滤器"]
["序号","产品名称","规格/型号","单位","数量","备注"]
[1,"中效过滤器","287*592*381*4P*21","个",16,"铝框，F8无纺布"]
[2,"中效过滤器","592*592*381*8P*21","个",16,"铝框，F8无纺布"]
[3,"初效过滤器","290*595*46","个",24,"铝框，子母架 G4"]
[4,"初效过滤器","595*595*46","个",24,"铝框，子母架 G4"]
[5,"高效过滤器","484*484*220","个",24,"镀锌框，纸隔板H13玻纤"]
[6,"高效过滤器","592*592*292","个",6,"塑框4V，H13（排风机箱）"]
[7,"高效过滤器","287*592*292","个",2]
[8,"初效过滤器","592*592*46","个",16]
[9,"初效过滤器","287*592*46","个",4]
[10,"中效过滤器","287*592*381*3","个",4]
[11,"中效过滤器","592*592*381*6","个",8]
[null,"小计",null,null,144]
["注：依据相关规范要求以及医院情况，建议：初效过滤器每年更换4次，中效过滤器每年更换2次，高效过滤器每年更换1次。"]

{"sheet":"第二住院大楼","index":5,"n_rows":73,"n_cols":10,"rows_kept":73,"merged":[[0,0,0,9],[2,0,9,0],[2,1,9,1],[2,2,9,2],[2,3,4,3],[2,9,71,9],[5,3,6,3],[7,3,8,3],[10,0,20,0],[10,1,20,1],[10,2,20,2],[10,3,11,3],[15,3,20,3],[21,0,31,0],[21,1,31,1],[21,2,31,2],[21,3,22,3],[23,3,25,3],[26,3,30,3],[32,0,34,0],[32,1,34,1],[32,2,34,2],[32,3,34,3],[35,0,37,0],[35,1,37,1],[35,2,37,2],[35,3,37,3],[38,0,40,0],[38,1,40,1],[38,2,40,2],[38,3,40,3],[41,0,43,0],[41,1,43,1],[41,2,43,2],[41,3,43,3],[44,0,46,0],[44,1,46,1],[44,2,46,2],[44,3,46,3],[47,0,49,0],[47,1,49,1],[47,2,49,2],[47,3,49,3],[50,0,52,0],[50,1,52,1],[50,2,52,2],[50,3,52,3],[53,0,55,0],[53,1,55,1],[53,2,55,2],[53,3,55,3],[56,0,58,0],[56,1,58,1],[56,2,58,2],[56,3,58,3],[59,0,61,0],[59,1,61,1],[59,2,61,2],[59,3,61,3],[62,0,64,0],[62,1,64,1],[62,2,64,2],[62,3,64,3],[65,0,67,0],[65,1,67,1],[65,2,67,2],[65,3,67,3],[68,0,70,0],[68,1,70,1],[68,2,70,2],[68,3,70,3]],"flags":["formulas_cached_only"]}
["雅安市人民医院第二住院大楼（1号楼）过滤器清单"]
["序号","产品名称","楼层","风柜型号","规格/型号","单位","数量",null,null,"备注"]
[1,"初效过滤器","—1F","MDW200DB","492*594*46","个",8,null,null,"初效龙骨，一用一备。"]
[{"$nulls":4},"492*492*46","个",4]
[{"$nulls":4},"492*289*46","个",4]
[{"$nulls":3},"MDW270DB","594*594*46","个",12]
[{"$nulls":4},"390*594*46","个",4]
[{"$nulls":3},"MDW270DB","594*594*46","个",12]
[{"$nulls":4},"390*594*46","个",4]
[{"$nulls":3},"MDW060DB","492*594*46","个",4]
[2,"初效过滤器","2F","MDW270DB","594*594*46","个",12]
[{"$nulls":4},"390*594*46","个",4]
[{"$nulls":3},"MDW060DB","492*594*46","个",4]
[{"$nulls":3},"MDW060DB","492*594*46","个",4]
[{"$nulls":3},"MDW050DB","492*492*46","个",4]
[{"$nulls":3},"MDW100DB","492*289*46","个",2]
[{"$nulls":4},"392*289*46","个",2]
[{"$nulls":4},"289*289*46","个",2]
[{"$nulls":4},"289*594*46","个",2]
[{"$nulls":4},"390*594*46","个",2]
[{"$nulls":4},"390*492*46","个",2]
[3,"初效过滤器","3F","MDW270DB","594*594*46","个",12]
[{"$nulls":4},"390*594*46","个",4]
[{"$nulls":3},"MDW080DB","289*594*46","个",2]
[{"$nulls":4},"390*594*46","个",2]
[{"$nulls":4},"594*594*46","个",2]
[{"$nulls":3},"MDW300DB","492*492*46","个",8]
[{"$nulls":4},"492*594*46","个",8]
[{"$nulls":4},"492*289*46","个",8]
[{"$nulls":4},"289*594*46","个",4]
[{"$nulls":4},"289*289*46","个",2]
[{"$nulls":3},"MDW050DB","492*492*46","个",4]
[4,"初效过滤器","5F","MDW070DB","390*594*46","个",2]
[{"$nulls":4},"289*594*46","个",2]
[{"$nulls":4},"492*594*46","个",2]
[5,"初效过滤器","6F","MDW070DB","390*594*46","个",2]
[{"$nulls":4},"289*594*46","个",2]
[{"$nulls":4},"492*594*46","个",2]
[6,"初效过滤器","7F","MDW070DB","390*594*46","个",2]
[{"$nulls":4},"289*594*46","个",2]
[{"$nulls":4},"492*594*46","个",2]
[7,"初效过滤器","8F","MDW070DB","390*594*46","个",2]
[{"$nulls":4},"289*594*46","个",2]
[{"$nulls":4},"492*594*46","个",2]
[8,"初效过滤器","10F","MDW070DB","390*594*46","个",2]
[{"$nulls":4},"289*594*46","个",2]
[{"$nulls":4},"492*594*46","个",2]
[9,"初效过滤器","11F","MDW070DB","390*594*46","个",2]
[{"$nulls":4},"289*594*46","个",2]
[{"$nulls":4},"492*594*46","个",2]
[10,"初效过滤器","12F","MDW070DB","390*594*46","个",2]
[{"$nulls":4},"289*594*46","个",2]
[{"$nulls":4},"492*594*46","个",2]
[11,"初效过滤器","13F","MDW070DB","390*594*46","个",2]
[{"$nulls":4},"289*594*46","个",2]
[{"$nulls":4},"492*594*46","个",2]
[12,"初效过滤器","14F","MDW070DB","390*594*46","个",2]
[{"$nulls":4},"289*594*46","个",2]
[{"$nulls":4},"492*594*46","个",2]
[13,"初效过滤器","15F","MDW070DB","390*594*46","个",2]
[{"$nulls":4},"289*594*46","个",2]
[{"$nulls":4},"492*594*46","个",2]
[14,"初效过滤器","16F","MDW070DB","390*594*46","个",2]
[{"$nulls":4},"289*594*46","个",2]
[{"$nulls":4},"492*594*46","个",2]
[15,"初效过滤器","17F","MDW070DB","390*594*46","个",2]
[{"$nulls":4},"289*594*46","个",2]
[{"$nulls":4},"492*594*46","个",2]
[16,"初效过滤器","18F","MDW070DB","390*594*46","个",2]
[{"$nulls":4},"289*594*46","个",2]
[{"$nulls":4},"492*594*46","个",2]
[17,"合计",{"$nulls":4},226,null,0]
[{"$nulls":6},226]

{"sheet":"医养中心","index":6,"n_rows":50,"n_cols":10,"rows_kept":50,"merged":[[0,0,0,9],[2,0,5,0],[2,1,5,1],[2,2,5,2],[2,3,4,3],[2,9,49,9],[6,0,9,0],[6,1,9,1],[6,2,9,2],[7,3,9,3],[10,0,13,0],[10,1,13,1],[10,2,13,2],[11,3,13,3],[14,0,16,0],[14,1,16,1],[14,2,16,2],[14,3,15,3],[17,0,20,0],[17,1,20,1],[17,2,20,2],[17,3,18,3],[19,3,20,3],[21,0,24,0],[21,1,24,1],[21,2,24,2],[21,3,22,3],[23,3,24,3],[25,0,28,0],[25,1,28,1],[25,2,28,2],[25,3,26,3],[27,3,28,3],[29,0,32,0],[29,1,32,1],[29,2,32,2],[29,3,30,3],[31,3,32,3],[33,0,36,0],[33,1,36,1],[33,2,36,2],[33,3,34,3],[35,3,36,3],[37,0,40,0],[37,1,40,1],[37,2,40,2],[37,3,38,3],[39,3,40,3],[41,0,44,0],[41,1,44,1],[41,2,44,2],[41,3,42,3],[43,3,44,3],[45,0,48,0],[45,1,48,1],[45,2,48,2],[45,3,46,3],[47,3,48,3]],"flags":["formulas_cached_only"]}
["雅安市人民医院医养中心（2号楼）过滤器清单"]
["序号","产品名称","楼层","风柜型号","规格/型号","单位","数量",null,null,"备注"]
[1,"初效过滤器","1F","MDW180DB","492*492*46","个",4,null,null,"初效龙骨，一用一备。"]
[{"$nulls":4},"390*492*46","个",8]
[{"$nulls":4},"592*492*46","个",4]
[{"$nulls":3},"MDW060DB","492*594*46","个",4]
[2,"初效过滤器","2F","MDW060DB","492*594*46","个",4]
[{"$nulls":3},"MDW080DB","289*594*46","个",2]
[{"$nulls":4},"390*594*46","个",2]
[{"$nulls":4},"594*594*46","个",2]
[3,"初效过滤器","3F","MDW060DB","492*594*46","个",4]
[{"$nulls":3},"MDW080DB","289*594*46","个",2]
[{"$nulls":4},"390*594*46","个",2]
[{"$nulls":4},"594*594*46","个",2]
[4,"初效过滤器","4F","MDW040DB","390*492*46","个",2]
[{"$nulls":4},"492*492*46","个",2]
[{"$nulls":3},"MDW060DB","492*594*46","个",4]
[5,"初效过滤器","5F","MDW040DB","390*492*46","个",2]
[{"$nulls":4},"492*492*46","个",2]
[{"$nulls":3},"MDW030DB","390*289*46","个",2]
[{"$nulls":4},"390*492*46","个",2]
[6,"初效过滤器","6F","MDW030DB","390*289*46","个",2]
[{"$nulls":4},"390*492*46","个",2]
[{"$nulls":3},"MDW040DB","390*492*46","个",2]
[{"$nulls":4},"492*492*46","个",2]
[7,"初效过滤器","7F","MDW040DB","390*492*46","个",2]
[{"$nulls":4},"492*492*46","个",2]
[{"$nulls":3},"MDW040DB","390*492*46","个",2]
[{"$nulls":4},"492*492*46","个",2]
[8,"初效过滤器","8F","MDW040DB","390*492*46","个",2]
[{"$nulls":4},"492*492*46","个",2]
[{"$nulls":3},"MDW040DB","390*492*46","个",2]
[{"$nulls":4},"492*492*46","个",2]
[9,"初效过滤器","9F","MDW030DB","390*289*46","个",2]
[{"$nulls":4},"390*492*46","个",2]
[{"$nulls":3},"MDW040DB","390*492*46","个",2]
[{"$nulls":4},"492*492*46","个",2]
[10,"初效过滤器","10F","MDW030DB","390*289*46","个",2]
[{"$nulls":4},"390*492*46","个",2]
[{"$nulls":3},"MDW040DB","390*492*46","个",2]
[{"$nulls":4},"492*492*46","个",2]
[11,"初效过滤器","11F","MDW030DB","390*289*46","个",2]
[{"$nulls":4},"390*492*46","个",2]
[{"$nulls":3},"MDW040DB","390*492*46","个",2]
[{"$nulls":4},"492*492*46","个",2]
[12,"初效过滤器","12F","MDW030DB","390*289*46","个",2]
[{"$nulls":4},"390*492*46","个",2]
[{"$nulls":3},"MDW040DB","390*492*46","个",2]
[{"$nulls":4},"492*492*46","个",2]
[13,"合计",{"$nulls":4},112]

{"sheet":"营养科配餐室","index":7,"n_rows":11,"n_cols":6,"rows_kept":11,"merged":[[0,0,0,7],[1,0,1,7]],"flags":["formulas_cached_only"]}
["雅安市人民医院过滤器清单"]
["营养科配餐室中效过滤器报价"]
["序号","产品名称","规格/型号","单位","数量","备注"]
[1,"初效过滤器","289*594*95","个",8]
[2,"初效过滤器","594*594*95","个",8]
[3,"中效过滤器","289*594*95","个",8]
[4,"中效过滤器","594*594*95","个",8]
[5,"回风网片","460*280*10","个",16]
[6,"高效过滤器","630*630*90","个",2]
[7,"合计",null,"个",50]
["注：依据相关规范要求以及医院情况，建议：初效过滤器每年更换4次，中效过滤器每年更换2次，高效过滤器每年更换1次。"]

{"sheet":"三期手术室","index":8,"n_rows":19,"n_cols":6,"rows_kept":19,"merged":[[0,0,0,7],[1,0,1,7]],"flags":["formulas_cached_only"]}
["雅安市人民医院过滤器清单"]
["三期手术室初中高效过滤器清单"]
["序号","产品名称","规格/型号","单位","数量","备注"]
[1,"初效过滤器","595*290*46","个",11,"铝框G4"]
[2,"初效过滤器","595*490*46","个",20,"铝框G4"]
[3,"初效过滤器","490*490*46","个",4,"铝框G4"]
[4,"初效过滤器","595*595*46","个",19,"铝框G4"]
[5,"中效F8","595*290*534","个",11]
[6,"中效F8","595*490*534","个",20]
[7,"中效F8","490*490*534","个",4]
[8,"中效F8","595*595*534","个",19]
[9,"高效过滤器","484*484*220","个",34,"H13"]
[10,"高效过滤器","320*320*220","个",4,"H13"]
[11,"高效过滤器","780*330*90","个",7]
[12,"手术室回风滤网","810*360*10","个",134]
[13,"手术室回风滤网","670*310*10","个",12]
[14,"排风过滤器","310*310","个",31]
[null,"合计",null,"个",299]
["注：依据相关规范要求以及医院情况，建议：初效过滤器每年更换4次，中效过滤器每年更换2次，高效过滤器每年更换1次。"]

{"sheet":"消毒供应中心","index":9,"n_rows":9,"n_cols":6,"rows_kept":9,"merged":[[0,0,0,7],[1,0,1,7]],"flags":["formulas_cached_only"]}
["雅安市人民医院过滤器清单"]
["消毒供应中心（供应室）中效过滤器报价"]
["序号","产品名称","规格/型号","单位","数量","备注"]
[1,"初效过滤器","289*594*95","个",8,"铝框"]
[2,"初效过滤器","594*594*95","个",52,"铝框"]
[3,"中效","289*594*95","个",8,"F8"]
[4,"中效","594*594*95","个",52,"F8"]
[5,"合计",null,"个",120]
["注：依据相关规范要求以及医院情况，建议：初效过滤器每年更换4次，中效过滤器每年更换2次，高效过滤器每年更换1次。"]